 **The Weston Theatre**

 **Lights & Related Equipment List 03/09/19**

**Par**

|  |  |
| --- | --- |
| Par 64 (CP62 standard, CP60 and CP61 available) | 88 |
| Short Nose Par 64 (CP62 standard, CP60 and CP61 available) | 10 |

**Profile**

|  |  |
| --- | --- |
| Source 4 lamphouses 750W | 70 |
| Lens tubes to be shared with The Clore Studio space where there are 10x Source 4s |
| 190 Lens tube  | 24 |
| 260 Lens tube | 32 |
| 360 Lens tube | 26 |
| 500 Lens tube | 18 |

**Flood**

|  |  |
| --- | --- |
| Thomas single cell flood 1kW  | 12 |
| ADB single cell flood 1kW | 5 |
| Thomas 4 cell flood 1kW | 6 |

**Fresnel**

|  |  |
| --- | --- |
| Cantata Fresnel 1.2kW | 24 +3 with no barndoors |
| Alto Fresnel 2kW  | 6+3 with no barndoors |

**PC**

|  |  |
| --- | --- |
| Alto PC Fresnel 2kW  | 6 |

|  |  |
| --- | --- |
| Showtec Sunstrip 12channel 75W | 2 |
| Stairville LED bar 252 RGB | 4 |
| UV cannon | 1 |
| Atomic 3000 Strobe | 1 |
| Unique 2.1 Haze Machine | 2 |
| Jem ZR33 Smoke Machine | 1 |

**Other**

**Moving Lights**

|  |  |
| --- | --- |
| Mac TW1 with standard lenses 190 - 140  | 4 |

**Dimming and Control**

|  |  |
| --- | --- |
| ETC Ion and fader wing |  |
| ETC Sensor dimmer modules 3kW (two dimmers per module) | 112 modules224 dimmers |
| ETC Sensor dimmers 5kW | 7 modules14 dimmers |
| ETC Sensor non-dim modules (two dimmers per module) | 5 modules10 dimmers |

|  |  |
| --- | --- |
| 24V 6.3A Power Supply | 5 |
| 12V 0-15A Power Supply | 2 |
|  |  |
| 24 Channel, 5-24V, 3A/channel | 4 |
| 4 Channel, 5-24V, 6A/channel (x1 is only 3channel ATM) | 5 |
| 4 Channel, 12-24V, 5A (different dimming curve to previous) | 2 |
| 3 Channel, 12-24V, 4A/channel (x1 is only 2channel ATM) | 3 |
| 3 Channel, 12-24V, 5A/channel PX24500 | 5 |
| 1 Channel, 12-24V, 6A PX24600 | 1 |

**LED Drivers and PSUs**